## Slide 1: ANALOG-TO-DIGITAL CONVERTER(A/D)
黃呂源

## Slide 2: A Data Acquisition System
The example of continuous signal conversion
A/D CONVERISON
1023
0
8s
0s
5V
0V
0s
8s
The signal after Amplifier
The digital code after conversion
Notes: AD轉換就是將不同時間的類比訊號強度，轉換成數位離散訊號來表示

## Slide 3
Transducer
(sensor)
Amplifier
Filter
(optional)
A/D converter
ADC12MEM0
W
V
V
D
Light
Temperature
Acceleration
Humidity
Pressure
etc
Resistance
Capacitance
Current
Voltage
etc.
Convert to voltage
Produce a proper output voltage level
Converts voltage to digital number
101010111…
Today’s labs
Store the result in the register

## Slide 4
The basic concept of A/D conversion
  A Data Acquisition System
    Scaling Circuit
    Analog Voltage and Digital Code Characteristic
      The description of Characteristic
      Accuracy
    A/D conversion Algorithms
      The description of Algorithms
      A method for translating Digital to Voltage
      Optimal Voltage Range for A/D conversion
Notes: AD轉換全名為ANALOG TO DIGITAL CONVERT
為資料採集至數位系統最基本的組成員見
Adc可以用來測量外界類比訊號轉為數位訊號
因此他有將類比訊號對應成特定數位訊號的能力，當然這也會依照ADC的轉換精度而影響到轉換前後的誤差程度
接著會解說AD怎麼轉換的方式，以及在不同電壓區間內，AD轉換該如何最佳化能夠採集的範圍
Scaling Circuit:
an electronic device or circuit that aggregates electric pulses and gives a single output pulse for a predetermined number of input pulses
(電壓轉換)

## Slide 5: Scaling circuit-
Why need the amplifier?
  The input voltage ranges come from transducer is 0-200mV when the voltage ranges of A/D converter is 0-5V , the A/D converter can not take advantage of the available full dynamic range . Therefore it will decrease the accurate .
How to overcome it?
  Use the amplifier(OPA)
+
_
R1
R2
GND
This voltage ranges can be used in the A/D converter .
1
Notes: 如果外部訊號太小，可以考慮使用OPA進行放大

## Slide 6: Analog Voltage and Digital Code Characteristic-
The purpose of A/D converter
Accuracy=
4
Notes: 而ADC的精確度是這樣算出來的
Vdd為參考電壓上限
2N的N代表是幾位元的ADC
若參考電壓上限為3.3V，為12BIT ADC，則可偵測的精度為3.3/4096≒0.0008V~
代表一個則若轉換後的ADC數位訊號大小2000，則代表測量到0.0008~*2000≒1.6V

## Slide 7: A/D Conversion Algorithms-
Algorithms
  Parallel A/D converter
  Slope and double-slope A/D converter
  Sigma-delta A/D converter
  Successive approximation A/D converter
    循序漸進式ADC
    Advantage:
      IC Area small, low power consumption.
    Disadvantage:
      Slow transfer.
      Low accuracy.
4
Notes: ADC分為幾種取樣方式，而我們適用最後一種循序漸進式來處理

## Slide 8: Successiva-Approximation ADC

## Slide 9: PIC18F4520 A/D
10 inputs for the 28-pin devices and 13 for the 40/44-pin devices.
This module allows conversion of an analog input signal to a corresponding 10-bit digital number.
The analog reference voltage is software selectable
  (RA3/AN3/ VREF+ and RA2/AN2/VREF-/CVREF pins)
The A/D converter has a unique feature of being able to operate while the device is in Sleep mode
Successive approximation
Reset will force A/D turn off and coversion aborted

## Slide 10
Each bit conversion need time
=Tad
Notes: Set max digit to D/A D/A > input reset else set

## Slide 11: Input Model

## Slide 12: A/D Hint
GO/DONE bit trigger can manual trigger A/D
Capacitor need time to charge(Tacq)
A/D need clock source to work
Ta/d > minimum Tad(if less than,bit conversion may error)

## Slide 13: A/D Conversion time

## Slide 15: A/D BLOCK DIAGRAM

## Slide 16: ADC Setting
Notes: Page 227
1.Setting Pin , Vref , Adc channel
configure Pin
setting input channel
2.

## Slide 17: ADC Init
Setting input Channel
Setting Tacq (= ??Tad )
Setting Conversion clock ( =Tad )
  For correct A/D conversions, the A/D conversion clock (TAD) must be as short as possible, but greater than the minimum TAD
Turn on A/D(enable)

## Slide 18: Right /left justified

## Slide 20: Setting Conversion clock(Tad ) / Tacq
The maximum recommended impedance for analog sources is 2.5 kΩ
Tad minimum = ??? (your lab)
Tacq
  CHOLD = 25 pF
  Rs = 2.5 kΩ
  Conversion Error ≤ 1/2
  LSb VDD = 5V → Rss = 2 kΩ
  Temperature = 85°C (system max.)

## Slide 22: A/D Conversion Go & Done
Start
  Set GO/
  CCP2(compare)
Waiting
Complete(GO/ == 0 or interrupt)
  Auto
    Clear GO/ & Set A/D interrupt IF bit
  How to check complete
    Polling GO/
    Setting Interrupt

## Slide 23: A/D Register
A/D Result High Register (ADRESH)
A/D Result Low Register (ADRESL)
A/D Control Register 0 (ADCON0)
  Setting channel
  Set A/D Go & Check A/D Done
  Enable
A/D Control Register 1 (ADCON1)
  Setting Vref(+,-)
  Setting pin mode
A/D Control Register 2 (ADCON2)
  Setting Tad & Clock cource

## Slide 24: A/D Control Register 0 (ADCON0)

## Slide 25: A/D Control Register 1 (ADCON1)

## Slide 26: A/D Control Register 2 (ADCON2)

## Slide 27: Lab
Connect three 300ohms resistors in series
Test point between resistors and determine the voltage from A/D(store in Ram(file register),explain why value it is?

## Slide 28: REF
http://slideplayer.com/slide/4584351/
http://hyperphysics.phy-astr.gsu.edu/hbase/Electronic/adc.html
http://ww1.microchip.com/downloads/en/devicedoc/39631a.pdf